## Emer, Life Safety & Security
Emergency, Life Safety, & Security
Department Safety Inspection
Property:
Completed by:
Date:
Emergency & Crisis Management | Yes | No | NA | Comments
Emergency written procedures are current - enter most recent review / revision date
Interstate's Crisis Communication Plan is posted and available to associates.
Fire: enter date of most recent fire drill
Medical: enter date of most recent medical emergency drill
Evacuation: enter date of most recent evacuation drill
Weather: enter date of most recent weather emergency drill
Utility: enter date of most recent utility failure/emergency drill
Bomb Threat: enter date of most recent bomb threat training
Emergency contact list is current - enter most recent review / revision date
At least one employe on each shift has curent 1st Aid/CPR/AED certification - enter name(s) & position(s) at time of this inspection
Other: Describe
Fire Life Safety System | Yes | No | NA | Comments
Fire alarm panel is armed and free of trouble conditions
Fire sprinkler system is inspected, tested and serviced on a regular basis - enter most recent date
Alarm system devices (audible and visible alarms) and panel is inspected, tested and serviced on a regular basis - enter most recent date
Detection devices (smoke, CO, heat detectors, etc.) are inspected, tested and serviced on a regular basis - enter most recent date
Fire pump is inspected, tested and serviced on a regular basis - enter most recent date
Fire Pump controls are in the ON position and sprinkler supply valves are open and equipped with tamper switches or secured in the open position.
The emergency generator is arranged to start automatically in the event of a power failure and tested weekly - enter most recent date
Emergency lighting is tested monthly, documented and illuminate towards the means of egress - enter most recent date
Carbon monoxide detectors are installed where fossil fuels are burned
Carbon monoxide detectors are installed in guest and employee areas immediately adjacent to areas where fossil fuels are burned
Other: Describe
Security, Access & Key Controls | Yes | No | NA | Comments
Interstate's Key Control Policy is in place - enter date of most recent Key Audit
Only select individual(s) are authorized to make guest and master level key cards
Users have their own unique individual login and password to access electronic key system.
Master keys are signed out and in on a per shift basis
Sign out sheets and employee key boxes were reviewed for accuracy during this inspection
There were discrepancies in the sign out sheets - if yes, please comment
Key rings are secured in a way that prevent removing a key from the ring
Lock Programmer is secured and only available to authorized associates.
Key sets are secured when not in use
Exterior service doors and emergency exits are closed, latch properly and secured from the outside
Emergency exits are cleary marked, free of debris, and allow emergency access to outside (no chains on doors).
Loading dock and service entrances are secured
Roof access is restricted and secured when not in use
CCTV cameras and recording equipment functions properly
Security cameras are not installed in parking area, fitness room, or pool area
Documented patrols of the property are conducted on at least a daily basis
Other: Describe
Comments:

## Public Area, Serv Areas, Stair
Public Areas, Service Areas, & Stairwells
Safety Inspection
Property:
Completed by:
Date:
Hotel Lobby | Yes | No | NA | Comments
Lighting is generally reasonable and adequate
Main entrance is secured after hours and limited to guests with keycard
Perimeter entrance doors are secured and restricted to guests with keycards
Floor surface is free of defects such as uneven/chipped tile, torn carpet, etc.
Walk-off (wet floor) mats are in reasonable and adequate condition
Walk-off (wet floor) mats are only used during periods of inclement weather
An adequate supply of wet floor signs is available
Floor surface is free of obstructions such as furniture, trash cans, planters, etc.
Floor surface is free of contaminants such as water, grease, etc.
Changes in surface composition/texture, elevation and/or grade are clearly marked and visible
Luggage storage area is secured
Other: Describe
Public Areas & Restroom | Yes | No | NA | Comments
Lighting is generally reasonable and adequate
Floor surface is free of defects such as uneven/chipped tile, torn carpet, etc.
Floor surface is free of obstructions such as furniture, trash cans, planters, etc.
Changes in elevation and/or grade are clearly marked and visible
Floor surface is free of contaminants such as water, grease, etc.
Walk-off (wet floor) mats are in reasonable and adequate condition
Walk-off (wet floor) mats are only used during periods of inclement weather
An adequate supply of wet floor signs is available
Other: Describe
Meeting Rooms | Yes | No | NA | Comments
Fire exits are clearly marked
Fire exits are kept free of obstructions such as tables, chairs, staging, F&B items, etc.
Floor surface is free of defects such as uneven/chipped tile, torn carpet, etc.
Electrical cords are taped down or otherwise secured to prevent trip hazards
Chairs and table are inspected regularly and are generally good condition and free of defects
There is an adequate supply of carts to move tables and chairs
Chairs are stacked a maximum of 10-high
Fire extinguishers are clearly marked, available and inspected on a regular basis - enter most recent inspection date
Other: Describe
Stairs & Service Areas | Yes | No | NA | Comments
Lighting is generally reasonable and adequate
Stairwells are equipped with hand rails that are secured and in reasonable and adequate condition
Stairs and landing surfaces are in reasonable condition and free of obstructions and contaminants
Stairs and stair treads are in reasonable and adequate condition, they are firm, level, clean, unworn, and non-slip
Emergency lighting is in place, functions properly and has been tested in the past 30 days - enter most recent test date
Ground floor stairwell doors are equipped with a self-closing mechanism, and open, close and latch properly
Service areas are generally free from obstructions
Electrical equipment cords are in reasonable and adequate condition and free of separation, tears, tape and broken ground plugs
Electrical receptacles are not overloaded with multi-outlet adaptors, etc.
Service area walking surfaces are in generally reasonable and adequate condition and free from defects
Service are waking surfaces are free of surface contaminants such as trash, water, grease, etc.
Mop stations are readily accessible and an adequate supply of "wet floor" signs are available
Mop stations are in reasonable condition
Metal or plastic scoops are stored outside of the ice bin(s)
Fire and emergency egress is well marked, clearly visible and unobstructed
Electrical switches and receptacles are in reasonable and adequate condition
Fire extinguishers are clearly marked, available and inspected on a monthly basis - enter most recent inspection date
Electrical panels are unobstructed
Storage areas are kept clean and well organized
Shelves are sturdy and show no signs of damage, weakening or fatigue
Items are not stored within 18" of fire sprinklers
A safe step stool or ladder stand is available for reaching high storage areas.
Other: Describe
Comments:

## Parking, Exterior, Loading Dock
Parking, Exterior, & Loading Dock
Safety Inspection
Property:
Completed by:
Date:
Parking & Exterior | Yes | No | NA | Comments
Lighting is generally reasonable and adequate
Lighting is inspected on a regular basis - enter most recent inspection date
Parking access controlled and is restricted to visitors and hotel guests
Parking surfaces are unbroken, in reasonable and adequate condition and free of trip hazards
Traffic patterns are clearly identified
Shrubs, trees and other landscape features are well maintained and do not obstruct drivers' view of pedestrians or other vehicles at intersections
Parking bumper blocks are in reasonable and adequate condition and pained a bright contrasting color
Sidewalks are unbroken, in reasonable and adequate condition and free of trip hazards
Water runoff from roof and downspouts are directed away from walking areas and does not present a slip and fall hazard in summer or ice in winter months
Other: Describe
Hotel Entrance | Yes | No | NA | Comments
Lighting is generally reasonable and adequate
Main drive / entry area surface is unbroken, in reasonable and adequate condition and free of trip hazards
Curbs and other changes in elevation or grade are clearly marked with a bright contrasting color
Fire access lanes are clearly marked and unobstructed
Signs and awnings are in reasonable and adequate condition
Water runoff from roof and downspouts are directed away from walking areas and does not present a slip and fall hazard in summer or ice in winter months
Other: Describe
Loading Dock, Service Entrance, Trash Compactor | Yes | No | NA | Comments
Lighting is generally reasonable and adequate
Area secured after hours
Fall prevention in place to minimize falls from elevated loading dock
Floor surface is free of defects such as uneven/chipped concrete, broken/improperly fit drain covers, etc.
Floor drains are fitted properly, secure, and flush with the floor surface
Floor drains function properly
Floor surface is free of contaminants such as trash, water, grease, etc.
Trash compactor functions properly and will not operate if compactor door is opened.
Only trained and authorized personnel are permitted to operate the compactor
Employees have been trained on the safe and proper use of compactor - enter most recent training date
Other: Describe
Comments:

## Hotel Compliance
Hotel Compliance
Property:
Completed by:
Date:
Motor Vehicle Policy | Yes | No | NA | Comments
Have you identified all drivers of company vehicles and those driving personal vehicles for company business
Have you run MVR and completed a Motor Vehicle Record Qualification Form for new drivers and annually for exisiting drivers
Have all drivers successfully completed online driver training from ARI
Have all drivers signed the Interstate Driver Acknowledgement Form
For drivers of company vehicles, have Interstate Evaluation and Screening Forms been completed for each driver
Bloodborne Pathogen Program (BBP) | Yes | No | NA | Comments
Have you implemented the Interstate BBP program
Have you identified core members of your blood borne pathogens response team.
Have you identified and offered the Hepatitis B vaccination to any associates with risk of exposure within 10 days of their starting work
Have you provided and documented training for all managers and associates in Bloodborne pathogens
Do you have adequate supplies of personal protective equipment (PPE), sharps containers and BBP clean up/response supplies
Claim Reporting, PC 365 Nurse Triage and Light Duty Programs | Yes | No | NA | Comments
Are all managers trained in HOW to report and manage work related injuries?
Are all injuries reported within 24 hours or less?
Does your property have the PPO Panel (List of Local Clinics and Hospitals) posted in Associate Areas.
Are all managers trained in how to use the PC365 Nurse Triage Program.
Do you comply with the mandatory Light Duty Return to Work Program and provide temporary modified work assignments for associates that have restrictions resulting from a work related injury?
Do you use the Temporary Transition Duty Job Tasks or have you identified tasks within your hotel that can be used for injured associates that are assigned light duty restrictions?
Hotel Incident Response Communications Plan | Yes | No | NA | Comments
Have all managers, in-house security and front desk associates been trained in the Interstate Hotel Incident Response Communications Plan
Is the Interstate Hotel Incident Response Communications Plan available in the front desk area
Interstate Alcohol Management Policy | Yes | No | NA | Comments
Have all managers and associates who sell or serve alcoholic beverages been TIPs trained and certified
IIPP - California Hotels Only | Yes | No | NA | Comments
Have you implemented Interstate’s Injury Illness Prevention Plan at your property
Are all managers and associates trained and documented on your IIPP
Have you provided Report of Unsafe Condition or Hazard forms in associate areas and are collecting them daily
Comments:

## Fitness Center & Pool
Fitness Center & Pool
Safety Inspection
Property:
Completed by:
Date:
Fitness Center | Yes | No | NA | Comments
Access is restricted to adult guests with guestroom keycards
Access door(s) close and latch properly
Doors are secured during times area is closed
Is the floor surface free of defects such as torn carpet, etc.
The floor is free of trip hazards such as power cords
Equipment instructions are posted near each machine
Emergency phone is clearly marked, visible and not obstructed by equipment
Emergency phone functions properly and has been tested in the past 30 days - enter date
Rules are clearly posted
Wipes are available to wipe down equipment after use
Other: Describe
Swimming Pool/Whirlpool/Hot Tub | Yes | No | NA | Comments
Access is restricted to guests
Access door(s)/gate(s) are childproof, self-closing and latch properly
Door(s)/gate(s) are secured during times area is closed
Security cameras are directed only at entrances and exits and away from the pool and whirlpool
Pool rules (including no glass) are conspicuously posted and unobstructed
Pool depths are clearly marked in a contrasting color on the top edge and side of the pool
A float line is used to identify areas greater than 5' deep
"NO DIVING" signs are clearly posted
Ladders and hand rails are secure with no sharp edges or exposed hardware
Pool deck is in reasonable and adequate condition
Life safety equipment is available and in good condition including floatation ring and shepherd's hook
Emergency phone is clearly distinguishable and marked, visible, unobstructed and includes dialing instructions
Emergency phone functions properly and has been tested in the past 30 days - enter date
Whirlpool emergency stop functions properly and has been tested in the past 30 days - enter date
Whirlpool timer and emergnecy stop equipment is clearly identified, visible, unobstructed and functions properly.
Whirlpool temperature control devices function properly and coumented testing is done on a daily basis. Enter date of most recent test.
Water quality readings are current and have been conducted in the past 24 hours - enter date & time of most recent readings
Furniture is in reasonable and adequate condition and free of hazards
Umbrellas are secured and anchored
Drains and pump meet VGBA requirements
Pool water is clear
Pool chemical and mechanical rooms are secured and restricted to authorized personnel
Pool mechanical room is reasonably maintained and includes an eyewash station and PPE required by relevant SDS
GFCI receptacles are installed within 36" of wet areas and function properly
All electric service associated with the pool (underwater pool lights, outlets, switches, circuit breakers, etc.) is properly grounded, is equipped with Ground Fault Circuit Interruption (GFCI) and functions properly.
Electrical receptacles are not overloaded with multi-outlet adaptors, etc.
Electrical receptacles, switches junction boxes and conduit are properly covered and covers are in reasonable condition.
All electrical equipment (pumps, heaters, pool lights, whirlpool equipment) has been installed and is serviced and maintained by a licensed electrical contractor. Enter date of most recent inspection and contractor service.
The pool /whirlpool will be closed if there are any problems with sanitation systems, pumps, electrical or other operational systems.
Storage areas are kept clean and well organized
Shelves are sturdy and show no signs of damage, weakening or fatigue
Items are not stored within 18" of fire sprinklers
Other: Describe
Comments:

## Eng & Elevators
Elevators & Engineering
Department Safety Inspection
Property:
Completed by:
Date:
Maintenance & Engineering | Yes | No | NA | Comments
Lighting is generally reasonable and adequate
Floor surface is free of defects such as uneven/chipped tile, broken/improperly fit drain covers, etc.
Floor surface is free of contaminants such as linen, trash, water, grease, etc.
Fire and emergency egress is well marked, clearly visible and unobstructed
Fire extinguishers are clearly marked, available and inspected on a regular basis - enter most recent inspection date
Employees have been trained in the proper use of fire extinguishers - enter most recent training date
Electrical receptacles are not overloaded with multi-outlet adaptors, etc.
Electrical switches and receptacles are in reasonable and adequate condition
Electrical equipment cords are in reasonable and adequate condition and free of separation, tears, tape and broken ground plugs
GFCI receptacles are installed within 36" of wet areas and function properly
Electrical panels are unobstructed
All employees were observed wearing slip resistant (non-athletic) footwear that was in reasonable condition
There is a formal elevator emergnecy response plan that expressly and clearly prohibits Engineering and all employees from extracting occupants of an elevator and all employees have recieved documented trained in the repsonse plan and policy - enter most recent review/revision date
A written lockout tagout plan exists and has been reviewed in the past 12 months - enter most recent review/revision date
Employees have been trained in electrical safety, including lockout-tagout - enter date of most recent training
Adequate supply of lockout and tagout devices are available
A log of lockout tagout activities is maintained in maintenance / engineering - enter date and location of most recent lockout tagout activity
Employees have been trained on proper bloodborne pathogen exposure control - enter most recent training date
Employees have been trained on the proper use of chemicals - enter most recent training date
Safety Data Sheets (SDS) are located in an open area and sheets are current
Personal protective equipment (PPE) available for employees who work in maintenance & engineering - enter types and location of PPE
Containers are properly labeled
Eye wash station(s) are available, in working condition, unobstructed and readily accessible where chemicals are used and/or dispensed
Chemical storage areas are secured and generally reasonably and adequately arranged
Flammable materials are kept to a minimum and maintained in a cabinet specifically designed for flammable materials
Flammable materials cabinet is in reasonable condition, closes and latches properly
Storage areas are kept clean and well organized
Shelves are sturdy and show no signs of damage, weakening or fatigue
Items are not stored within 18" of fire sprinklers
A safe step stool or ladder stand is available for reaching high storage areas.
Ladders are properly stored, inspected before use and in reasonable and adequate condition
Employees have been trained on proper ladder use - enter most recent training date
Rotating equipment including grinders and saws are properly guarded
Drill presses and grinders are secured to floor or bench
Employees have been trained on proper use of rotating equipment (grinders, saws, etc.) - enter most recent training date
Elevators | Yes | No | NA | Comments
Inspection certificates are posted and current
Communication equipment (phone/intercom) functions properly and has been tested in the past 30 days - enter date
Emergency buttons function properly and have been tested in the past 30 days - enter most recent test date
Employees are prohibited from opening elevator doors or entering the elevator pit - contractor and fire department are exclusively authorized to assist with entrapment and other incidents
Other: Describe
Other: Describe
Comments:

## Housekeeping
Housekeeping
Department Safety Inspection
Property:
Completed by:
Date:
Houskeeping | Yes | No | NA | Comments
Lighting is generally reasonable and adequate
Floor surface is free of defects such as uneven/chipped tile, broken/improperly fit drain covers, etc.
Floor surface is free of contaminants such as linen, trash, water, grease, etc.
Fire and emergency egress is well marked, clearly visible and unobstructed
Fire extinguishers are clearly marked, available and inspected on a regular basis - enter most recent inspection date
Employees have been trained in the proper use of fire extinguishers - enter most recent training date
Electrical receptacles are not overloaded with multi-outlet adaptors, etc.
Electrical switches and receptacles are in reasonable and adequate condition
Electrical equipment cords are in reasonable and adequate condition and free of separation, tears, tape and broken ground plugs
GFCI receptacles are installed within 36" of wet areas and function properly
Electrical panels are unobstructed
All employees were observed wearing slip resistant (non-athletic) footwear that was in reasonable condition
A written bloodborne pathogen exposure control plan exists and has been reviewed in the past 12 months - enter date of most recent review/revision
Employees have been trained on proper bloodborne pathogen exposure control - enter most recent training date
A written hazard communication plan exists and has been reviewed in the past 12 months - enter most recent review/revision date
Employees have been trained on the proper use of detergents and chemicals - enter most recent training date
Safety Data Sheets (SDS) are located in an open area and sheets are current
Personal protective equipment (PPE) available for employees who work in housekeeping - enter types and location of PPE
Containers are properly labeled
Eye wash station(s) are available, in working condition, unobstructed and readily accessible where chemicals are dispensed
Chemical storage areas are secured and generally reasonably and adequately arranged
Chemical dispensing station is in good condition and drains properly
Amenity storage areas are secured and generally reasonably and adequately arranged
Linen storage areas are secured and generally reasonably and adequately arranged
Storage areas are kept clean and well organized
Shelves are sturdy and show no signs of damage, weakening or fatigue
Items are not stored within 18" of fire sprinklers
Dryer lint traps are cleaned after every load
Dryer exhaust ducts are inspected and serviced on a monthly basis - enter most recent inspection / service date
Employees have been trained on the proper use of detergents and chemicals - enter most recent training date
Laundry bins have load leveling floors to minimize reaching
A safe step stool or ladder stand is available for reaching high storage areas.
Other: Describe
Guest Floors | Yes | No | NA | Comments
Room attendants keep their assignment sheets in an inconspicuous location (not on top of cart)
Room attendants clean with doors closed and/or with their carts immediately in front of guestroom doors
Room attendants are prohibited from allowing access to guest rooms
Room attendants keep their keys on their person during their shift
Lighting is generally reasonable and adequate
Floor surface is free of defects such as uneven/chipped tile, torn carpet, etc.
Floor surface is free of contaminants such as water, grease, etc.
Changes in surface, elevation and/or grade are clearly marked and visible
Fire extinguishers are clearly marked, available and inspected on a monthly basis - enter most recent inspection date
Fire exits are clearly marked, visible and kept free of obstructions
Emergency lighting is in place, functions properly and has been tested in the past 30 days - enter most recent test date
There is a house phone on each guest room floor
Stairwell doors are equipped with a self-closing mechanism and close and latch properly
Stairwells and service areas are reasonably well-lit
Stairs and landing surfaces are in reasonable condition and free of obstructions and contaminants
Stairwells are equipped with hand rails that are secured and in reasonable and adequate condition
Stairs and stair treads are in reasonable and adequate condition, they are firm, level, clean, unworn, and non-slip
Roof access is secured and restricted to authorized personnel
Ground floor stairwell doors are equipped with a self-closing mechanism, and open, close and latch properly
Housekeeping storage areas are kept clean and well organized
Storage room shelves are sturdy and show no signs of damage, weakening or fatigue
Items are not stored within 18" of fire sprinklers
A safe step stool or ladder stand is available for reaching high storage areas.
Vending area and ice machine rooms do not have doors
Access to linen chute is restricted and chute is locked at all times when not in use
Other: Describe
Guest Rooms | Yes | No | NA | Comments
Doors are equipped with self-closing mechanism and close and latch properly
Viewport is properly installed and is not obstructed
Deadbolt functions properly
Secondary latch/chain is in reasonable and adequate condition and functions properly
Evacuation diagram is posted on rear of guest room door
Bedroom floor surface is free of defects such as uneven/chipped tile, torn carpet, etc.
Innkeeper's Act is posted per State requirement
Guest safety and security information is available in guest room
Lighting is adequate and in good condition
Electrical appliance cords are in good condition (lamps, iron, hair dryer, coffee maker, etc.)
Electrical switches and receptacles are in reasonable and adequate condition
Connecting doors are equipped with locking devices and function properly
Fire life safety system devices present including heat/smoke detection and fire sprinklers
Windows do not open more than 4"
Secondary exterior doors (patio, etc.) are equipped with secondary locking device such as pin, charley bar, etc.
Telephone functions correctly
Bathroom floor surface is free of defects such as chipped tile, etc.
GFCI receptacle in bathroom and functions properly
Other: Describe
Comments:

## Front Office & Admin
Front Office & Admin
Department Safety Inspection
Property:
Completed by:
Date:
Front Office & Admin (Exec, HR, Acctg, Sales, etc.) | Yes | No | NA | Comments
Guest room keys are only issued to registered guests with proper identification
Lighting is generally reasonable and adequate
Floor surface is free of defects such as uneven/chipped tile, torn carpet, etc.
Floor surface is free of contaminants such trash, water, grease, etc.
Floor surface is free of obstructions such as boxes, furniture, cords, etc.
Fire and emergency egress is well marked, clearly visible and unobstructed
Fire extinguishers are clearly marked, available and inspected on a regular basis - enter most recent inspection date
Employees have been trained in the proper use of fire extinguishers - enter most recent training date
Electrical receptacles are not overloaded with multi-outlet adaptors, etc.
Electrical switches and receptacles are in reasonable and adequate condition
Electrical equipment cords are in reasonable and adequate condition and free of separation, tears, tape and broken ground plugs
Electrical panels are unobstructed
Storage areas are kept clean and well organized
Shelves are sturdy and show no signs of damage, weakening or fatigue
Items are not stored within 18" of fire sprinklers
A safe step stool or ladder stand is available for reaching high storage areas.
Other: Describe
Comments:

## Restaurant & Lounge
Restaurant & Lounge
Department Safety Inspection
Property:
Completed by:
Date:
Restaurant & Lounge | Yes | No | NA | Comments
Lighting is generally reasonable and adequate
Floor surface is free of defects such as uneven/chipped tile, torn carpet, etc.
Floor surface is free of contaminants such as water, grease, etc.
Changes in elevation and/or grade are clearly marked and visible
All employees were observed wearing slip resistant (non-athletic) footwear that was in reasonable condition
An adequate supply of wet floor signs is available
Fire exits are clearly marked, visible and kept free of obstructions
Fire extinguishers are clearly marked, available and inspected on a regular basis - enter most recent inspection date
Employees have been trained in the proper use of fire extinguishers - enter most recent training date
Chairs and table are inspected regularly and are generally good condition and free of defects
Employees have been trained in safe food handling - enter most recent training date
Employees have been trained in proper sanitation and hygiene practices - enter most recent training date
Employees have been trained in responsible alcohol service - enter most recent training date
Bus areas are in reasonable condition and in good order
Glasses are stored away from ice bins
Electrical equipment cords are in reasonable and adequate condition and free of separation, tears, tape and broken ground plugs
Electrical switches and receptacles are in reasonable and adequate condition
Electrical receptacles are not overloaded with multi-outlet adaptors, etc.
Storage areas are kept clean and well organized
Shelves are sturdy and show no signs of damage, weakening or fatigue
Items are not stored within 18" of fire sprinklers
A safe step stool or ladder stand is available for reaching high storage areas
Other: Describe
Comments:

## Kitchen & Food Prep
Kitchen & Food Prep
Department Safety Inspection
Property:
Completed by:
Date:
Kitchen & Food Preparation Areas | Yes | No | NA | Comments
Lighting is generally reasonable and adequate
Light fixtures are protected with enclosures / covers
Floor surface is free of defects such as uneven/chipped tile, broken/improperly fit drain covers, etc.
Floor drains are fitted properly, secure, and flush with the floor surface
Floor drains function properly
Floor surface, including under and behind cooking equipment, is free of contaminants such as trash, water, grease, etc.
Where mats are used, they are in reasonable condition and cleaned regularly - enter date of last cleaning
All employees were observed wearing slip resistant (non-athletic) footwear that was in reasonable condition
Oily rags are placed in a steel, flame-resistant container with self-closing lid and removed on a daily basis
Cook surface exhaust hoods, filters and ducts are cleaned on a regular basis - enter most recent service date
Cook equipment extinguishing system is inspected and serviced on a regular basis - enter most recent service date
A Class K fire extinguisher (stainless steel cylinder) is clearly visible and immediately accessible (within 20' of cooking areas)
Fire extinguishers are clearly marked, available and inspected on a regular basis - enter most recent inspection date
Employees have been trained in the proper use of fire extinguishers - enter most recent training date
Cooking equipment functions properly and is generally free of grease build-up
Deep fryers are only cleaned and drained when equipment and oil is at room temperature
Electrical equipment cords are in reasonable and adequate condition and free of separation, tears, tape and broken ground plugs
Fire and emergency egress is well marked, clearly visible and unobstructed
Electrical switches and receptacles are in reasonable and adequate condition
Electrical receptacles are not overloaded with multi-outlet adaptors, etc.
GFCI receptacles are installed within 36" of wet areas and function properly
Electrical panels are unobstructed
Cooler and freezer doors latch and seal properly to prevent air drafts, condensation and icing
Walk-in cooler and freezer doors have release mechanism to prevent employees from being locked inside and mechanisms function properly
Floor surfaces in coolers and freezers is free of defects
Floor surfaces in coolers and freezers is free of contaminants including food, empty containers, water, ice, etc.
Food product in coolers and freezers is properly covered, labeled, dated and rotated
Food product is kept off of the floor
Guards are available and used for slicers, mixers and choppers
Employees have been trained in the use of slicers, mixers, and choppers - enter most recent training date
Slicer is unplugged and set to 0 when not in use
Cut gloves are available and required when using and cleaning choppers, mandolin, slicer - enter location and condition of gloves
There is an adequate supply of the correct type of knives
Knives are properly stored
There is a reasonable and adequate process for sharpening knives
Employees have been trained on proper knife use - enter most recent training date
Metal or plastic scoops are stored outside of the ice bin(s)
Handwashing sinks are equipped with an adequate supply soap and paper towels
Employees have been trained in safe food handling - enter most recent training date
Employees have been trained in proper sanitation and hygiene practices - enter most recent training date
Can openers, including handles and blades, are clean
There is an adequate supply and placement of oven mits and hot pads available
Oven mits and hot pads are in reasonable and adequate condition
Trash containers are not overloaded or overflowing and are emptied regularly
There is a specific and separate container for sharps, including broken glass, china, can lids, etc.
Employees have been trained on proper sharps disposal - enter most recent training date
Safety Data Sheets (SDS) are located in an open area and sheets are current
First aid kit is available, reasonably stocked, and includes blue adhesive bandages
Storage areas are kept clean and well organized
Shelves are sturdy and show no signs of damage, weakening or fatigue
Items are not stored within 18" of fire sprinklers
A safe step stool or ladder stand is available for reaching high storage areas.
Other: Describe
Comments:

## Stewarding & Dishwashing
Stewarding & Dishwashing
Department Safety Inspection
Property:
Completed by:
Date:
Stewarding & Dishwashing Areas | Yes | No | NA | Comments
Lighting is generally reasonable and adequate
Light fixtures are protected with enclosures / covers
Floor surface is free of defects such as uneven/chipped tile, broken/improperly fit drain covers, etc.
Floor drains are fitted properly, secure, and flush with the floor surface
Floor drains function properly
Floor surface is free of contaminants such as trash, water, grease, etc.
Dish machine functions properly, is free of leaks, and drains directly into floor drain
Where mats are used, they are in reasonable condition and cleaned regularly - enter date of last cleaning
All employees were observed wearing slip resistant (non-athletic) footwear that was in reasonable condition
Employees have been trained in the use of the dish machine - enter most recent training date
Employees have been trained how to respond / clear a jam in the dish machine - enter most recent training date
Employees have been trained in the proper use of chemicals for the dish machine - enter most recent training date
Personal protective equipment (PPE) available for employees who work in dishwashing area - enter types and location of PPE
Trash containers are not overloaded or overflowing and are emptied regularly
There is a specific and separate container for sharps, including broken glass, china, can lids, etc.
Employees have been trained on proper sharps disposal - enter date of last training
Fire and emergency egress is well marked, clearly visible and unobstructed
Fire extinguishers are clearly marked, available and inspected on a regular basis - enter most recent inspection date
Employees have been trained in the proper use of fire extinguishers - enter most recent training date
Electrical switches and receptacles are in reasonable and adequate condition
Electrical receptacles are not overloaded with multi-outlet adaptors, etc.
GFCI receptacles are installed within 36" of wet areas and function properly
Electrical panels are unobstructed
Storage areas are kept clean and well organized
Shelves are sturdy and show no signs of damage, weakening or fatigue
Items are not stored within 18" of fire sprinklers
A safe step stool or ladder stand is available for reaching high storage areas.
Other: Describe
Comments:

## Banquets
Banquets
Department Safety Inspection
Property:
Completed by:
Date:
Banquets | Yes | No | NA | Comments
Lighting is generally reasonable and adequate
Floor surface is free of defects such as uneven/chipped tile, broken/improperly fit drain covers, etc.
Floor surface is free of contaminants such as linen, trash, water, grease, etc.
Where mats are used, they are in reasonable condition and cleaned regularly - enter date of last cleaning
All employees were observed wearing slip resistant (non-athletic) footwear that was in reasonable condition
Employees have been trained in responsible alcohol service - enter most recent training date
Employees have been trained in safe food handling - enter most recent training date
Employees have been trained in proper sanitation and hygiene practices - enter most recent training date
Metal or plastic scoops are stored outside of the ice bin(s)
Fire and emergency egress is well marked, clearly visible and unobstructed
Fire exits are kept free of obstructions such as tables, chairs, staging, F&B items, etc.
Fire extinguishers are clearly marked, available and inspected on a regular basis - enter most recent inspection date
Employees have been trained in the proper use of fire extinguishers - enter most recent training date
Electrical cords are taped down or otherwise secured to prevent trip hazards
Electrical receptacles are not overloaded with multi-outlet adaptors, etc.
Electrical switches and receptacles are in reasonable and adequate condition
Electrical equipment cords are in reasonable and adequate condition and free of separation, tears, tape and broken ground plugs
GFCI receptacles are installed within 36" of wet areas and function properly
Electrical panels are unobstructed
All employees were observed wearing slip resistant (non-athletic) footwear that was in reasonable condition
Flammable materials are kept to a minimum and maintained in a cabinet specifically designed for flammable materials
Flammable materials cabinet is in reasonable condition, closes and latches properly
Storage areas are kept clean and well organized
Shelves are sturdy and show no signs of damage, weakening or fatigue
Items are not stored within 18" of fire sprinklers
A safe step stool or ladder stand is available for reaching high storage areas.
Chairs and table are inspected regularly and are generally good condition and free of defects
There is an adequate supply of carts to move tables and chairs
Other: Describe
Comments:

## Spa
Spa
Department Safety Inspection
Property:
Completed by:
Date:
Spa | Yes | No | NA | Comments
Floors and carpets are in good condition without tripping hazards.
Electrical equipment power cords are in good condition and properly routed.
Fixtures mirrors and handrails are in good condition (no cracks, splinters).
Benches, Chairs and counters are sturdy and free of hazards.
Exercise equipment are in good repair without missing parts, grips, bolts, etc.
Instructions and precautions for the use of exercise equipment are posted.
The health club is regularly patrolled and inspected by staff members.
Equipment is inspected regularly to ensure it is working properly and it is safe.
Signs are posted at the sauna/spa waring users about: the max. recommended use time, medical condition, age limits and alcohol/medication consumption.
Guests are reminded of the policy of no glass, food or alcoholic drinks in the sauna/spa.
Alarms or call buttons are located in the sauna, spa and exercise area.
Exit signs are clearly visible and illuminated.
A fully stocked first aid kit is readily available.
Adequate supply of fire extinguisher are available,properly labeled,visually inspected,date/sign.
Employees know what to do in the event of a fire, medical or other emergency.
New employees have received safety orientation training.
All required training is properly documented.
All employees have been trained in and have received a copy of the Written Harzard Communication Program
Other: Describe
Comments:

## Golf
Golf
Department Safety Inspection
Property:
Completed by:
Date:
General | Yes | No | NA | Comments
Are wildlife hazards present and if so, are there visible signs warning of potential hazards?
If wildlife hazards are present, have associates been trained on response procedures if they encounter one?
Are water hazards present on the course? If so, are "No Swimming" signs posted?
Are all pathways/steps in good condition and free of cracks, uneven surfaces, or additional trip hazards?
Are there written response procedures for severe weather? If so, have all associates been trained in the response?
First Aid kits are available and stored in nearby locations?
Have key individuals been trained in First Aid & CPR? If so, is one present for each shift?
Associates have been trained on the signs of heat sickness and know response procedures?
Do emergency routes exist for first responders?
Golf Cart/Vehicle/Sprayer Operation | Yes | No | NA | Comments
Are all operators (employers) required to complete safety training before operating vehicles? Does training discuss measures to prevent tip over while driving upon slopes?
If golf carts are operated by guests, are rules discussed clearly posted and reviewed with individuals before operation?
Do all cart operators have a valid drivers license?
Are golf carts restricted to driving on courses, paths, and ground (avoiding roads)?
Individuals who recharge vehicle batteries have been properly trained (training is documented)?
Is PPE available for associates responsible for recharging golf carts? If so, is it required to be worn?
Do vehicles ever carry more passengers than available number of seats?
Does a speed limit exist for golf carts? If so, is it 15 mph or lower?
Are vehicles inspected on a daily basis before operating? If so, are inspections documented and maintained? (tires, steering, brakes, battery)
Golf Maintence - General & Chemical Use | Yes | No | NA | Comments
The maintenance facility is kept clean and orderly.
Equipment is stored in clearly designated areas
A separate break/lunch/meeting room is available for employees.
An emergency response plan is filed with local emergency responders. The plan should address fuel, pesticides, fertilizers, paint, solvents and surface and below ground drainage.
Staff is trained to use and maintain equipment properly and to follow emergency response procedures, this training is documented.
A chemical inventory is maintained away from storage area.
Current SDS binder in place, accurate, up to date, and available to associates.
A written hazard communication plan exists and has been reviewed in the past 12 months - enter most recent review/revision date
Employees have been trained on the proper use of detergents and chemicals - enter most recent training date
Personal protective equipment (PPE) available for employees who work in housekeeping - enter types and location of PPE
Current product labels are readily available and followed precisely.
Chemicals are stored in a designated chemical storage structure, in original labeled container, separate from the general maintenance facility that is secure and has limited personnel access. Signage clearly marks the structure.
Structure is well ventilated with powered venting capable of three air exchanges per hour.
Powered venting is on a timer for automatic venting once per day.
Manual switch for fan is located on exterior of building or door.
Fire safety precautions are in place and response plan has been taught to all employees and is on file.
Structure has an impervious floor, such as metal or sealed concrete, that is designed to self-contained one and one half the largest tanks finished spray mixture.
Procedure or device (e.g., sump pump) is in place to contain and clean up liquid spills, should they occur. Ideally, floor should be designed to drain to a trough or toward the door to facilitate safe clean up of spills.
Structure has emergency wash facilities with adequate soap and water, including eye wash stations and drench shower, in close proximity.
Liquid products are stored below dry products or have secondary containment on the shelf
A spill containment kit is readily accessible and easy to open.
Spill containment procedures are posted, and written in English and Spanish/French, if needed.
Pesticides are stored away from fertilizers and in an area with proper ventilation.
Pesticides are kept dry and away from activities that might knock over a container or rip open a bag.
Pesticides are stored off the floor on metal or plastic shelving or, if wooden shelves, have secondary containment (e.g., plastic bin or tray).
A double back-flow prevention device is installed on the well or hydrants, and an air gap is maintained between the hose and the top of the sprayer tank.
Emergency shut off of all water and drainage systems is within immediate access to the operator.
Sprayers are filled by a trained and/or licensed applicator.
The spray hose is never put in the sprayer tank.
The fill hose is always kept well above the water line.
Mixing and filling is always done at chest level or below.
Pesticide mixing and loading takes place away from water sources.
Spills are reported to authorities in a timely manner
Under the Federal Insecticide, Fungicide and Rodenticide Act (FIFRA), a triple-rinsing of empty pesticide container is mandatory.
When making repairs to sprayers chemical proper personal protective devices are used and sprayers are cleaned and triple rinsed before repairs are begun.
Other: Describe
Gas/Fuel Containment | Yes | No | NA | Comments
Double walled steel and/or concrete above ground tanks are used to minimize the potential for subsurface contamination.
Breakaway hoses are attached to fuel tanks to prevent fuel spillage
A sensor is present to detect any leaks in the gas storage tank
Other: Describe
Fire Prevention | Yes | No | NA | Comments
Fire extinguishers are clearly marked, available and inspected on a regular basis - enter most recent inspection date
Employees have been trained in the proper use of fire extinguishers - enter most recent training date
Are flammable liquids used in areas that have proper ventilation?
Are flammable cans/containers kept in an approved flammable cabinet?
Are ignition sources such as open flames, cigarettes, sparks and electricity avoided/controlled when working with flammable liquids?
Wash Pad Operations | Yes | No | NA | Comments
The wash pad is made of an impervious surface, such as sealed concrete, to control leaching of any contaminates.
Pesticide equipment is not washed off in equipment cleaning area. Ideally, pesticide equipment is washed in a closed system where rinse water can be reused or disposed of in a proper way.
No engine or heavy degreasing cleaning is conducted in wash station dedicated to exterior of equipment.
Other: Describe
Comments:

## Marina
Marina
Department Safety Inspection
Property:
Completed by:
Date:
Marina | Yes | No | NA | Comments
General Appearance | Yes | No | NA | Comments
Is the facility well maintained
Is trash placed in proper containers? How often, daily or weekly to prevent overflow?
Are outlets for non-potable water supply posted clearly?
If there is a holding tank pump out station, does it work properly? Are there instructions?
Other: Describe
Access | Yes | No | NA | Comments
Are all ramps, docks, and decks (excluding fingers) at least 36 inches wide?
Do stairs with more than 4 steps have handrails?
Do guardrails protect gangways?
Are nails and screws recessed or flush with the surface?
Is planking laid close together (gaps no more than 3/8") and properly braced?
Are tripping hazards marked yellow and visible?
Are warning signs placed on public hazards?
Where dock sections join are they securely hinged or fastened?
Are access ways free of materials, debris, or obstructions?
Are dock anchor cables identified, if they are hazardous?
Are cleats and pilings in good repair and large enough?
Other: Describe
Electrical | Yes | No | NA | Comments
Is the electrical system in a neat, up to date, and approved condition?
Are switches, fuses, circuit breaker marked and labeled?
Is grounding provided for non-current carrying metal parts?
Are outdoor switches, circuit breakers, and panel boxes in weatherproof enclosures?
Do potable and semi-potable electrical tools and equipment have 3-conductor cord with a ground plug (except for UL/FM approved double insulated tools)?
Are ground fault circuit interrupters (GFCI) provided on all non-permanent 120-volt 15/20 amp receptacles? Are there GFCI electrical outlets in heads and shower areas?
Is there a designated, seperated battery charging station?
Does an extension cord run items that are supposed to be hard wired?
Are there frayed cords or wires?
Are there any damaged or inoperative switches, lighting fixtures, or receptacles?
Are there any cords that can be walked on, driven over, chaged by boat or dock movement?
Is there any unknown wiring coming from boxes?
Other: Describe
Emergency/First Aid/Water Safety | Yes | No | NA | Comments
Are first aid kits available?
Are emergency numbers posted?
Are throwable rings buoys available at intervals of not more than 60m (200ft) on walkways with at least 21m (70ft) of 1 cm solid braid polypropylene line attached?
Are there ladders appropriately spaced on the docks to access the water if someone fell in?
Does the marina have a storm preparation plan? What was the highest water level during past storms and are pilings high enough to accommodate such height?
Is the location free from strong surges and protected from strong winds?
What is the marina approach depth at low tide? Is slip depth at low tide posted?
Other: Describe
Fire Protection | Yes | No | NA | Comments
Are NO SMOKING signs posted in areas where there are flammables?
Is a fire plan posted?
Are fully charged portable fire extinguishers readily available, distinctly marked, and provided where needed?
Are portable fire extinguishers checked monthly and inspected/certified on an annual basis?
Are staff members trained in fire extingisher use?
Are all rags/waste soiled by grease disposed of daily in tight-closing UL cans?
Are drums or containers of flammable liquids properly?
Are flammable liquids/gas storage storage tanks grounded and bonded?
Do flammable liquid dispensing outlets have quick-closing/self-closing valves?
Do liquid propane systems have approved piping?
Is a phone accessible and marked in the event of an emergency?
Other: Describe
General | Yes | No | NA | Comments
Are guardrails 42" high?
Are moving parts of equipment guarded to prevent pinching or entanglement?
Is adequate lighting provided for operations that run into hours of darkness?
A written hazard communication plan exists and has been reviewed in the past 12 months - enter most recent review/revision date
Employees have been trained on the proper use of detergents and chemicals - enter most recent training date
Safety Data Sheets (SDS) are located in an open area and sheets are current
Personal protective equipment (PPE) available for employees who work in housekeeping - enter types and location of PPE
Is security present, or in use? If so, what hours?
Other: Describe
Comments: