## Instructions (Walk-Through)
Engineering Walk-Through Report
Intructions:
1) The Engineer on Duty should complete the Engineering Walk-Through Report daily.
2) Begin by filling in the hotel's name, today's date, shift time (AM/PM), and name of inspector / engineer.
3) Walk through all of the areas indicated on this form to ensure all equipment is in proper working order.
4) Make checkmarks and notes in the areas indicated on this form to ensure all areas have been properly inspected and tested.
5) Edit this form accordingly for your hotel if more / fewer areas need to be inspected daily.
a) Ex. If your hotel does not have a ballroom or meeting room, you can remove the "Ballroom / Meeting Room Lights" section from this report.
6) If there are any issues recorded on the report, they must be brought to the attention of the Manager on Duty and the Head Engineer.
7) Completed reports must be kept in the General Manager's office for one year.

## Engineering Walk-Through Report
Engineering Walk-Through Report
(Hotel Name)
Date: |  | Shift: | [5 empty] | AM/PM | Engineer:
Chiller:
Chiller: |  | On: |  |  | Off:
Chiller H2O Temps and PSI: |  | Supply PSI: |  |  | Return PSI: |  |  |  | Supply Temp: |  |  | F | Return Temp
Primary Pumps Amps: |  | Common Area Pumps: |  |  | Guest Loop Pumps:
PCHP-1: |  | SCHP-4: |  |  |  |  | SCHP-1: |  |  |  |  | SCHP-3:
PCHP-2: |  | PSI |  | SCHP-5: |  |  | SCHP-2:
| AHU #1: |  | AHU #3: |  |  |  |  | AHU #4: |  |  |  | REZ AHU #2
AHU #2: |  |  | REZ AHU #1:
Chiller Doors: |  | Set Point: |  |  | F | Chiller Capacity Limit:
Open:
Closed: |  | Enabled? |  |  |  | Actual Chiller Capacity:
Pool/Weight Room: |  | Lights: |  |  | Pool Pak: |  |  |  | Pool Level: |  |  | Spa Level:
Pool AM: | Chlorine: |  |  | Cal: |  |  |  | Spa AM: |  | Chlorine: |  | Cal:
PH |  |  |  | Temp: |  |  |  | PH: |  |  |  | Temp:
ALK: |  |  |  | Acid Demand: |  |  |  | ALK: |  |  |  | Acid Demand:
Pool CO2: |  |  |  | PSI |  |  |  |  | Spa CO2: |  |  | PSI
Ballroom/Meeting Room Lights:
Salon A: |  |  | Bus Office: |  |  |  | #1: |  |  |  | #3:
Salon B: |  |  | Exe Meeting: |  |  |  | #2: |  |  |  | #4:
Notes:
Boiler Room:
Storage Tank #1 Temp: |  |  |  |  | F | Boiler #1 On: |  |  |  |  | Temp To Rooms: |  |  | F
Storage Tank #2 Temp: |  |  |  |  | F | Boiler #2 On: |  |  |  |  | Temp from Rms: |  |  | F
[11 empty] | City PSI: |  |  | PSI
VFD #1: On |  |  | Set Point PSI: |  |  |  | Actual PSI: |  |  |  | Hotel PSI: |  |  | PSI
VFD #2: On |  |  | Set Point PSI: |  |  |  | Actual PSI:
Kitchen Area: |  | Misc: | CO2 System: |  | Kitchen CO2: |  |  |  | PSI |  | Café CO2: |  |  | PSI
Hot Side: | #1: |  | F | Cold Side: |  | #4 (Veggie): |  |  | F | #7 Employee Cafe: |  |  |  | F
| #2: |  | F | #5 Reach In: |  |  |  |  | F | #8 Serv Hall Reach In: |  |  |  | F
#3 Combo R: |  |  | F | Serv. Alley: |  | #6 Reach In: |  |  | F | Service Hall Walk In: |  |  |  | F
|  |  | F | Rm. Service: |  | Reach in: |  |  | F | Office Combo:
Exhaust Fans On: |  |  |  | Office Large: | [9 empty] | F
Exhaust Lighting: |  |  | Buffet Under Counter: | [5 empty] | F | Ice Machine:
Lobby/Bar: | Misc: |  | CO2 System: |  | Bar CO2: |  |  |  | PSI
#9 Star Bucks: |  | #12 Side/Side: |  |  | F | Gift Frige. |  |  | F | Front Desk Light:
#10 Wine: |  | #13 Side/Side: |  |  | F | Gift Freezer: |  |  | F | Lobby Lights:
#11Wine: |  | Walk In: |  |  | F | Ice Machine: |  |  |  | Day Time Setting:
#14 Reach In Under Cash Register: | [6 empty] | F
Connector Doors Unlocked: |  |  |  |  | Pre-Service Doors Unlocked:
Floors:
Concierge: |  | Reach In: |  |  | F | Counter #1: |  |  | F | Counter #2: |  |  |  | F
Ice Machines: |  |  |  | 8th |  |  | 5th |  |  |  | 2nd
7th | [6 empty] | 4th
6th | [6 empty] | 3rd |  |  |  | Also Check for Proper Drainage!
Meters:
Water: | #1 Meter: |  | #2 Meter: |  |  |  | Irrigation Meter:
Gas: | #1 Gas (MCF): |  |  |  | #2 Gas (CCF): |  |  |  | Electrical: |  |  |  | #1 kWh:
Notes: